Data Sheet

ECO Drying Cabinets

Features

- Energy savings of up to 65%

- Stainless steel

- Bench mounted

- Adjustable shelf positions

| Cat. No. | TD0100SN | TD0180SN |
| --- | --- | --- |
| Capacity (litres) | 100 | 180 |
| Air Circulation | Natural Convection | Natural Convection |
| External finish | Stainless Steel | Stainless Steel |
| Shelves Included | 2 | 2 |
| Max. Temperature, ˚C | Up to 85 | Up to 85 |
| Internal Dims, HWD mm | 440 x 775 x 300 | 555 x 995 x 325 |
| External Dims, HWD mm | 680 x 900 x 390 | 775 x 1125 x 420 |

The above is the standard specification. Any modification/deviation for the above will be clearly identified on the quotation front sheet